## TPZ & SRZ Calculator
EGN 425: Tree Protection Zone and Structural Root Zone Calculator
Note: Must be used in conjunction with AS 4970 Protection of trees on development sites
Version 1.2 - 27 Jan 2022
Inputs
Diameter at 1.4m above ground (breast height) = | 0.6 | m
Diameter, measured above the root buttress = | 0.6 | m
Is it a palm, other monocot, cycad or tree fern? | No
Outputs
TPZ radius = | 7.2 | m
TPZM radius = | 4.9468 | m
SRZ radius = | 2.6704 | m
Control measures
1. Avoid excavations within the TPZ if reasonable practicable.
2. Minor encroachment - If excavating < 10% of the TPZ (TPZM radius from the tree) then ensure no other project encroachments within the TPZ+10%?
3. Major encroachment - If excavating >10% of the TPZ, but not within the SRZ then either:
- underbore (>600m beneath the surface and entry exit points outside the TPZ)
- non destructive digging (hand digging or air or hydro vacuum excavation) and retain all tree roots where possible.
4. Critical encroachment - If excavating within the SRZ then only underbore (>600m beneath the surface and entry exit points outside the TPZ)
5. Works which cannot comply with the above will require approval from an arborist or Council tree preservation officer.